## POTS-2026
Code | Rule | Priority
OT-01 | All data captured by OT systems (images, video, plate and container numbers, logs) shall be stored and processed only in the Authority's own server rooms and data centres; no public cloud service may be used. | mandatory
OT-02 | OT systems shall run on a network segment separated from the corporate network by the Authority's firewalls, with no direct connection to the internet. | mandatory
OT-03 | User accounts shall be managed through the Authority's Active Directory; administrative accounts shall use multi-factor authentication. | mandatory
OT-04 | Audit logs of user and system events shall be kept for at least 3 years and forwarded in real time to the Authority's SIEM. | important
OT-05 | Field equipment installed outdoors shall be rated IP66 or better and for continuous operation from 0 °C to +55 °C. | mandatory
OT-06 | Critical OT systems shall reach at least 99.5 % availability per calendar month, with no single point of failure in servers, network or power, and UPS autonomy of at least 30 minutes. | important
OT-07 | The supplier shall keep a spare-parts stock in the State and respond on site within 4 hours, 24/7, to faults that stop operations. | important
OT-08 | A warranty of at least 24 months from acceptance shall cover all equipment and software, including parts and labour. | mandatory
OT-09 | Interfaces shall use open, documented protocols (REST/JSON, UN/EDIFACT or OPC UA); the documentation shall be delivered to the Authority. | important
OT-10 | Operator and maintenance training, and the user and maintenance manuals, shall be provided in Arabic and English. | desirable
OT-11 | Payments for equipment shall follow delivery and acceptance milestones; any advance payment shall not exceed 20 % and requires an advance-payment guarantee. | important
OT-12 | Maintenance after the warranty shall be priced per year, and these prices shall be fixed for at least 3 years. | important